## General Information
Cisco Evolved Programmable Network Manager Supported TL1 Messages
(EDCS-1481607) March 16, 2020
This document provides information about the supported Cisco NCS device TL1 messages in Cisco EPN Manager. TL1 message support is based on the technology and device operating system (not on a device type or device series). For example, Cisco EPN Manager will process a Report Database Change (REPT DBCHG) message from a Cisco NCS 2002 device if the device is running a supported operating system, such as Cisco ONS 10.1.
Column | Contains
TL1 Mnemonic | Name of TL1 message; can be entered into Cisco Error Message Decoder for more information (see below).
Description | Description and/or probable cause (often the same as information provided by Cisco Error Message Decoder). Also directs you to the appropriate hardware documentation for more information (because Cisco EPN Manager supports the events and messages explained in those documents).
Severity | Severity assigned to the TL1 message by Cisco EPN Manager (displayed in Cisco EPN Manager web GUI under Severity column).
Condition | Unique name in Cisco EPN Manager for this syslog (displayed in Cisco EPN Manager web GUI under Condition column).
Category | TL1 message category (displayed in Cisco EPN Manager web GUI under Category column).
Generates Alarm? | Whether or not the TL1 message generates an alarm in Cisco EPN Manager.
Alarm Name | (If TL1 message generates alarm) Name of alarm generated by the TL1 message.
Fault Nature | How TL1 message is cleared: ADAC (Auto Detect Auto Clear) or ADMC (Auto Detect Manual Clear).
Location | Network element entity that generates the TL1 message.
Supported Added | Cisco EPN Manager release in which support for the TL1 message was added.
Important Note: 1) The same format is used for all the messages following the template specified in the TL1 Mnemonic column. 2) See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. 3) See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Cisco Error Message Decoder
Related Cisco documentation:
Cisco Network Convergence System 2000 Series documentation
Cisco ONS 15454 Series Multiservice Transport Platforms documentation
Cisco NCS TL1 Command Guide, Release 10.x.x
Cisco ONS 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x
NCS2K Supported Alarms - Cisco NCS 2000 Series Troubleshooting Guide, Release 11.x.x
SVO Alarm Dictionary:
1. Login into EPNM 2. Navigate to "Monitor / Network Devices" 3. Click on "Device Name" of SVO device 4. You will be logged into SVO Nodal Craft/Web UI 5. Navigate to "Fault Monitoring" 6. Switch to "Profiles" tab 7. SVO Alarm Dictionary will be displayed with supported alarm details. 8. For actual description of SVO alarms, please refer to anything before paranthesis. SVO Alarm description is appended with rack-id/Chassis-id/Slot-id/Card-id/Port-id by EPNM. If Chassis-id is not there then this field will not be there. Similarly other fields as well. When receiving an Alarm from SVO source, it will follow this format: DESCRIPTION (svo:/rack/chassis/card/port) The information after DESCRIPTION is variable and depends on data from device. For example, in-case of LOS-P the message would be as below: Incoming Payload Signal Absent (svo:/rack/1/chassis/1/card/SLOT-3/port/LINE-TX) If some data is not provided, for example no Chassis data is received, message format will be as below: Incoming Payload Signal Absent (svo:/rack/1/card/SLOT-3/port/LINE-TX) If no aditional details are provided from device, only DESCRIPTION will be shown. EPNM will not parse this data on a platform basis but only provide the information as received.

## Optical Support
TL1 Mnemonic | Description | Severity | Condition | Category | Generates Alarm? | Alarm Name | Fault Nature | Location | Supported Added
system-identifier date time ** ATAG REPT ALM <MOD2ALM> “<AID>:<NTFCNCDE>,<CONDTYPE>,<SRVEFF>,[<OCRDAT>],[<OCRTM>],[<LOCN>], [<DIRN>]:[<DESC>],[<AIDDET>]” ; | The Report Alarm message reports an alarm condition on the device. - <CONDTYPE> is the unique ID for the alarm. - <LOCN> is populated with the device location. | Identified per notification-code attribute | Condition as described by <CONDTYPE> parameter of message | Optical Transport | yes | depends on message | ADAC | Available at <LOCN> in the message | 1.1
system-identifier date time ** ATAG REPT ALM ENV “<AID>:<NTFCNCDE>,<ALMTYPE>,[<OCRDAT>],[<OCRTM>],[<DESC>]]” ; | The Report Alarm Environment message reports a customer-defined condition on an environmental alarm input. - <ALMTYPE> is the unique ID for the alarm. | Identified per notification-code attribute | Condition as described by <ALMTYPE> parameter of message | Optical Transport | yes | depends on message | ADAC | depends on message | 1.1
system-identifier date time ** ATAG REPT ALM SECU “<AID>:<NOTIFCODE>,<SECUALMTYPE>” ; | The Report Alarm Security message reports the occurrence of an alarmed security event on the device. - <SECUALMTYPE> is the unique ID for the alarm. | Identified per notification-code attribute | Condition as described by <SECUALMTYPE> parameter of message | Optical Transport | yes | depends on message | ADAC | depends on message | 1.1
system-identifier date time ** ATAG REPT EVT <MOD2ALM> “<AID>:<CONDTYPE>,[<CONDEFF>],,,[<LOCN>],[<DIRN>],[<MONVAL>],[<THLEV>], [<TMPER>]:[<DESC>],[<AIDDET>]” ; | The Report Event message reports the occurrence of a nonalarmed event on the device. - <CONDTYPE> is the unique ID for the alarm. - <LOCN> is populated with the device location. | INFORMATIONAL | Condition as described by <CONDTYPE> parameter of message | Optical Transport | no | depends on message | ADAC | Available at <LOCN> in the message | 1.1
system-identifier date time ** ATAG REPT EVT FXFR “<FILENAME>,<FXFR_STATUS>,[<FXFR_RSLT>],[<PRCNT_XFRD>]” ; | The Report Event Software Download message reports the FTP software download status of the start, completion, and completed percentage on the device. | INFORMATIONAL | REPT EVT FXFR | Optical Transport | no | N/A | ADAC | N/A | 1.1
system-identifier date time ** ATAG REPT EVT SECU “<AID>:<DNFIELD>,[<CONDEFF>],,,[<LOCN>],[<DIRN>],,,:<SECURITY>:<DNFIELD1>” ; | The Report Event Security message reports the occurrence of a nonalarmed security event on the device. - <DNFIELD> is the unique ID for the alarm. | INFORMATIONAL | Condition as described by <DNFIELD> parameter of message | Optical Transport | no | depends on message | ADAC | N/A | 1.1
system-identifier date time ** ATAG REPT EVT ENV “<AID>:<ALMTYPE>,[<CONDEFF>],,,,,,[<LOCN>],[<DIRN>]:[<DESC>]” ; | The Report Event Environmentmessage reports the occurrence of a nonalarmed event against an environment alarm input on the device. - <ALMTYPE> is the unique ID for the alarm. - <LOCN> is populated with the device location. | INFORMATIONAL | Condition as described by <ALMTYPE> parameter of message | Optical Transport | no | depends on message | ADAC | Available at <LOCN> in the message | 1.1
system-identifier date time ** ATAG REPT EVT SESSION ““<AID>:<EXP>,<PCN>” “<WARN>” ; | The Report Event Session message reports a nonalarmed event related to establishing a session with the device. | INFORMATIONAL | REPT EVT SESSION | Optical Transport | no | depends on message | ADAC | depends on message | 1.1
system-identifier date time ** ATAG REPT SW “<ACTID>,<STDBYID>” ; | The Report Switch (REPT SW) message reports the autonomous switching of a unit in a duplex equipment pair to the standby state and its mate unit to the active state. | INFORMATIONAL | REPT SW | Optical Transport | no | depends on message | ADAC | depends on message | 1.1
system-identifier date time A ATAG REPT DBCHG “TIME=<TIME>,DATE=<DATE>,[SOURCE=<SOURCE>],[USERID=<USERID>],DBCHGSEQ=<DBCHGSEQ>:<COMMAND>:[<AID>]:::[<PSTPSTQ>,],<SST>” ; | The Report Database Change (REPT DBCHG) message reports any changes on the device. | INFORMATIONAL | N/A | Optical Transport | no | depends on message | ADAC | depends on message | 1.1
TL1_SESSION_SUCCESS | Successfully opened TL1 session to the device. | CLEARED | TL1_SESSION_SUCCESS | System | no | TL1_SESSION_SUCCESS | ADAC | depends on message | 1.1
TL1_SESSION_FAILURE | Failure on a TL1 session to the device. | CRITICAL | TL1_SESSION_FAILURE | System | yes | TL1_SESSION_FAILURE | ADAC | depends on message | 1.1
TL1_INITIAL_CONNECTION | Initial TL1 session to the device. | INFORMATIONAL | TL1_INITIAL_CONNECTION | System | yes | TL1_INITIAL_CONNECTION | ADAC | depends on message | 2.1
COMPOSITEEVENT | Event that groups together multiple reactive inventory events. | INFORMATIONAL | COMPOSITEEVENT | Optical Transport | yes | COMPOSITEEVENT | ADAC | depends on message | 2.1
Related Cisco documentation:
Cisco Network Convergence System 2000 Series documentation
Cisco ONS 15454 Series Multiservice Transport Platforms documentation
Cisco NCS TL1 Command Guide, Release 10.x.x
Cisco ONS 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x
NCS2K Supported Alarms - Cisco NCS 2000 Series Troubleshooting Guide, Release 11.x.x
SVO Alarm Dictionary:
1. Login into EPNM 2. Navigate to "Monitor / Network Devices" 3. Click on "Device Name" of SVO device 4. You will be logged into SVO Nodal Craft/Web UI 5. Navigate to "Fault Monitoring" 6. Switch to "Profiles" tab 7. SVO Alarm Dictionary will be displayed with supported alarm details. 8. For actual description of SVO alarms, please refer to anything before paranthesis. SVO Alarm description is appended with rack-id/Chassis-id/Slot-id/Card-id/Port-id by EPNM. If Chassis-id is not there then this field will not be there. Similarly other fields as well. When receiving an Alarm from SVO source, it will follow this format: DESCRIPTION (svo:/rack/chassis/card/port) The information after DESCRIPTION is variable and depends on data from device. For example, in-case of LOS-P the message would be as below: Incoming Payload Signal Absent (svo:/rack/1/chassis/1/card/SLOT-3/port/LINE-TX) If some data is not provided, for example no Chassis data is received, message format will be as below: Incoming Payload Signal Absent (svo:/rack/1/card/SLOT-3/port/LINE-TX) If no aditional details are provided from device, only DESCRIPTION will be shown. EPNM will not parse this data on a platform basis but only provide the information as received.
Note on B2: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B3: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B4: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B5: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B6: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B7: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B8: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B9: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B10: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.
Note on B11: The same format is used for all the messages following the template specified in the TL1 Mnemonic column. See the Cisco NCS TL1 Command Guide, Release 10.x.x (link below) for details about the message format. See the Cisco 15454 DWDM Troubleshooting Guide, Releases 9.8 and 10.x.x (link below) for details about the possible conditions.

## SVO Alarms
Condition Name | Description | Alarm Severity - SA | Alarm Severity - NSA | Resource Type | Since From
ACT-SOFT-VERIF-FAIL | Active Volume Software Signature Verification Failed | critical | minor | CARD | 12.01
ADD-OPWR-HDEG | Port Add Power Degrade High | not-applicable | minor | OPT | 12.01
ADD-OPWR-HFAIL | Port Add Power Fail High | critical | minor | OPT | 12.01
ADD-OPWR-LDEG | Port Add Power Degrade Low | not-applicable | minor | OPT | 12.01
ADD-OPWR-LFAIL | Port Add Power Fail Low | critical | minor | OPT | 12.01
ADMIN-DISABLE | Disable Inactive User | not-applicable | warning | NE SYSTEM | 12.01
ADMIN-DISABLE-CLR | Disable Inactive Clear | not-applicable | warning | NE SYSTEM | 12.01
ADMIN-LOCKOUT | Admin Lockout of User | not-applicable | warning | NE SYSTEM | 12.01
ADMIN-LOCKOUT-CLR | Admin Lockout Clear | not-applicable | warning | NE SYSTEM | 12.01
ADMIN-LOGOUT | Admin Logout of User | not-applicable | warning | NE SYSTEM | 12.01
ADMIN-SUSPEND | Suspend User | not-applicable | warning | NE SYSTEM | 12.01
ADMIN-SUSPEND-CLR | Suspend User Clear | not-applicable | warning | NE SYSTEM | 12.01
AIS | Alarm Indication Signal | not-applicable | indeterminate | OCn | 12.01
AIS-L | Alarm Indication Signal Line | not-applicable | indeterminate | OCn | 12.01
ALS | Automatic Laser Shutdown | not-applicable | warning | OPT OCH ETH | 12.01
ALS-DISABLED | Auto Laser Shutdown Disabled | not-applicable | warning | OPT OCH | 12.01
AMPLI-INIT | Optical Amplifier Initialization | not-applicable | warning | OPT | 12.01
APC-CORR-SKIPPED | Automatic Power Control Correction Skipped | not-applicable | minor | OPT | 12.01
APC-DISABLED | Automatic Power Control Disabled | not-applicable | major | OPT CARD | 12.01
APC-DISABLED | Automatic Power Control Disabled | not-applicable | minor | NE | 12.01
APC-END | Manual Requested Automatic Power Control run Completed | not-applicable | warning | NE | 12.01
APC-OUT-OF-RANGE | APC Cannot Set Value Due To Range Limits | not-applicable | minor | OPT | 12.01
APC-WRONG-GAIN | APC Wrong Gain Set Point | not-applicable | warning | OPT | 12.01
APS-NO-RESPONSE | APS Signal Mismatch | minor | minor | ODUk | 12.01
APS-PROV-MISM | APS Protection Type Mismatch | not-applicable | minor | ODUk | 12.01
AS-CMD | Alarms Suppressed By User Command | not-applicable | warning | OCH ETH OCn STMn ODUk OTUk zrPlus OPT OXC CARD FC PASSIVE_SHELF PORT PPM RAMAN_AMPLIFIER SHELF | 12.01
AS-MT | Alarms Suppressed For Maintenance | not-applicable | warning | OCH ETH OCn STMn ODUk OTUk zrPlus OPT OXC CARD FC PASSIVE_SHELF PORT PPM RAMAN_AMPLIFIER SHELF | 12.01
AUD-ARCHIVE-FAIL | Archival of Audit Log Failed | not-applicable | warning | NE SYSTEM | 12.01
AUD-LOG-LOSS | Audit Log 100 Percent Full - Oldest records will be lost | not-applicable | warning | NE SYSTEM | 12.01
AUD-LOG-LOW | Audit Log 80 Percent Full | not-applicable | warning | NE SYSTEM | 12.01
AUTH-EC | Payload Authetication Error Count | not-applicable | major | ODUk | 12.01
AUTO-AMPLI-DISABLED | Auto Ampli Control Disabled | not-applicable | warning | OPT | 12.4
AUTO-AMPLI-MISMATCH | Auto Ampli Control Mismatch | not-applicable | warning | OPT | 12.4
AUTO-AMPLI-RUNNINNG | Auto Ampli Control Running | not-applicable | warning | OPT | 12.4
AUTORESET | Automatic System Reset | not-applicable | minor | CARD | 12.01
AUTOWDMANS | Automatic WDM ANS Finished | not-applicable | warning | NE | 12.01
AVST-FAILURE | AVST Failure | not-applicable | major | CARD | 12.4
AWG-DEG | AWG Temperature Degrade | not-applicable | minor | OPT | 12.01
AWG-FAIL | AWG Temperature Failure | critical | minor | OPT | 12.01
AWG-OVERTEMP | AWG Over-Temperature | critical | minor | OPT | 12.01
AWG-WARM-UP | AWG Warm Up | not-applicable | warning | OPT | 12.01
B-AUTH-EC | Backward Auth Error Count | not-applicable | minor | ODUk | 12.01
BAD-DB-DETECTED | Bad Database Detected And Database Load Failed | not-applicable | critical | NE SYSTEM | 12.01
BAT-FAIL | Battery Failure | major | minor | PWR | 12.01
BDI | Backward Defect Indication | not-applicable | warning | OXC | 12.01
BERT-ENBL | BERT Enabled | not-applicable | indeterminate | OCn STMn OTUk | 12.01
BERT-SYNC-FAIL | BERT Synchronization Status Failed | not-applicable | indeterminate | OCn STMn OTUk | 12.01
BIOS-IMAGE-CORRUPTION | BIOS image corruption | not-applicable | major | CARD | 12.4
BKUPMEMP | Primary Non-Volatile Backup Memory Failure | critical | minor | CARD USB_FLASH | 12.01
BP-FPGA-IMAGE-CORRUPTION | BP FPGA Image Corruption | not-applicable | major | CARD | 12.4
BP-FPGA-PCIE-ERROR | BP FPGA PCIE Error | major | not-applicable | CARD | 12.4
BP-FPGA-XR-EP-FPGA-PCIE-ERROR | BP FPGA XR EP FPGA PCIe Error | not-applicable | major | CARD | 12.4
BP-LPBKFACILITY | Back-panel Facility Loopback | not-applicable | warning | CARD | 12.01
BP-LPBKTERMINAL | Back-panel Terminal Loopback | not-applicable | warning | CARD | 12.01
CANNOT-BE-EQUALIZED | Incoming signal cannot be equalized | not-applicable | minor | OPT OXC | 12.01
CARD-UNREACHABLE | RemoteCard Not Reachable For Key Exchange. Retrying ... | not-applicable | major | PORT | 12.01
CARLOSS | Carrier Loss On The LAN | major | minor | MS_ETH | 12.01
CASETEMP-DEG | Case Temperature Degrade | not-applicable | minor | OPT | 12.01
CD | Chromatic Dispersion | not-applicable | major | OCH | 12.01
CHAN-PWR-THRESHOLD-CHECK | Channel Power would fall below threshold value | not-applicable | minor | OPT | 12.01
CLDRESTART | Cold Restart | not-applicable | warning | CARD | 12.01
COMM-FAIL | Plug-in Module Communication Failure | not-applicable | minor | CARD | 12.01
COMP-CARD-MISSING | Companion Card Missing | not-applicable | minor | CARD | 12.01
CONTBUS-A-18 | Controller Card A To DCC A Processor Communication Failure | not-applicable | minor | CARD | 12.01
CONTBUS-B-18 | Controller Card B To DCC B Processor Communication Failure | not-applicable | minor | CARD | 12.01
CONTBUS-CLK-A | Clock Bus Failure - Shelf Controller A | not-applicable | minor | CARD | 12.01
CONTBUS-CLK-B | Clock Bus Failure - Shelf Controller B | not-applicable | minor | CARD | 12.01
CONTBUS-DISABLED | Slot Commmunication Disabled | critical | minor | CARD | 12.01
CONTBUS-IO-A | Peer To Peer Slot Communication Failure | not-applicable | minor | CARD | 12.01
CONTBUS-IO-B | Peer To Peer Slot Communication Failure | not-applicable | minor | CARD | 12.01
COOL-MISM | Cooling Profile Mismatch | indeterminate | indeterminate | FAN_TRAY | 12.01
CPP-INCAPABLE | Card/Ports Unable To Provide Protection | not-applicable | warning | CARD | 12.01
CPU-FPGA-PCIE-ERROR | CPU FPGA PCIe Error | not-applicable | major | CARD | 12.4
CRYPTO-HW-FAILURE | Crypto HW Failure | critical | not-applicable | CARD SHELF | 12.4
CRYPTO-INDEX-MISMATCH | Crypto Index Mismatch | not-applicable | minor | CARD | 12.4
CRYPTO-KEY-EXPIRED | Crypto key expired | critical | not-applicable | CARD | 12.4
DATAFLT | Software Fault - Data Integrity Fault | not-applicable | minor | NE SYSTEM | 12.01
DBBACKUP-FAIL | Database Backup Failed | not-applicable | warning | NE SYSTEM | 12.01
DBBACKUP-IN-PROGRESS | Database Backup In Progress | not-applicable | warning | SYSTEM | 12.3
DBOSYNC | Standby Database Out of Sync | major | minor | NE SYSTEM | 12.01
DBREST-IN-PROGRESS | Database Restore In Progress | not-applicable | warning | SYSTEM | 12.3
DBRESTORE-FAIL | Database Restore Failed | not-applicable | warning | NE SYSTEM | 12.01
DCU-LOSS-FAIL | DCU Loss Failure | not-applicable | minor | OPT | 12.01
DEG-SER | FEC Degraded Symbol Error Rate | major | minor | ETH | 12.4
DGD | Differential Group Delay | not-applicable | minor | OCH | 12.4
DISK-SPACE-FULL | No Space Left On Device | not-applicable | major | SYSTEM | 12.2
DISK-SPACE-LOW | Low Disk Space Remaining On Device | not-applicable | minor | SYSTEM | 12.2
DSP-COMM-FAIL | DSP Communication Failure | major | minor | OCH | 12.01
DSP-FAIL | DSP Failure | major | minor | OCH | 12.01
DUP-IPADDR | IP Address A1ready In Use Within The Same DCC Area | not-applicable | minor | NE | 12.01
DUP-NODENAME | Node name already in use within the same DCC Area | not-applicable | minor | NE | 12.01
DUP-SHELF-ID | Duplicated Shelf Identifier | not-applicable | major | SHELF | 12.01
EHIBATVG | Extreme High Volt | major | minor | PWR | 12.01
ELWBATVG | Extreme Low Volt | major | minor | PWR | 12.01
EMB-AMPLIFIER-SATURATED | Embedded amplifier saturated alarm | not-applicable | minor | OPT | 12.01
ENC-CERT-EXP | MIC cert is expired switch to LSC | not-applicable | major | ODUk | 12.1
EOC | SDCC Termination Failure | not-applicable | minor | OPT OCn | 12.01
EOC-E | Ethernet OSC Termination Failure | not-applicable | minor | ETH | 12.01
EOC-L | Line DCC Termination Failure | not-applicable | minor | OCn | 12.2
EPROM-SUDI-SN-MISMATCH | Card Serial Number and Certificate Serial Number Mismatch | not-applicable | major | CARD | 12.01
EQPT | Equipment Failure | critical | minor | CARD ECU LCD_FLASH PPM | 12.01
EQPT-DEGRADE | Equipment Degrade | not-applicable | minor | CARD | 12.01
EQPT-DIAG | Diagnostic Failure | critical | minor | CARD | 12.01
EQPT-FAIL | Board Failure | critical | major | CARD PPM | 12.01
EQPT-FPGA-IMAGE-AVAILABLE | Different FPGA Image Available | not-applicable | indeterminate | CARD | 12.01
EQPT-MISS | Replaceable Equipment/Unit is Missing | critical | minor | CARD FAN_TRAY ECU LCD_FLASH PWR | 12.01
ETH-LINKLOSS | Rear Panel Ethernet Link Removed | not-applicable | warning | NE | 12.01
EVAL-LIC | Evaluation License Is In Use | not-applicable | minor | CARD | 12.01
EXT | Failure Detected External To The NE | not-applicable | minor | ENVALRM | 12.01
FAILTOSW | Failure To Switch To Protection | not-applicable | warning | OPT ODUk OTUk OCn STMn ETH zrPlus | 12.01
FAN | Fan Failure | critical | minor | FAN_TRAY | 12.01
FAN-POWER-ERROR | FAN tray Power Error | not-applicable | major | FAN_TRAY | 12.4
FANDEGRADE | Partial Fan Failure | major | minor | FAN_TRAY | 12.01
FC-DE-NES | Fibre Channel Distance Extension Function Not Established | major | minor | FC | 12.01
FC-NO-CREDITS | Fibre Channel Distance Extension Credit Starvation | major | minor | FC | 12.01
FDI | Forward Defect Indication | not-applicable | warning | OXC OCn | 12.01
FEC-MISM | FEC Mismatched | major | minor | OTUk | 12.4
FEED-MISMATCH | Feed Not Available/Improper Connection | major | minor | PWR | 12.01
FIBERTEMP-DEG | Fiber Temperature Degrade | not-applicable | minor | OPT | 12.01
FIRMWARE-DOWNLOAD | Firmware Download In Progress | warning | warning | CARD PPM | 12.01
FIRMWARE-UPG | Firmware Upgrade In Progress | not-applicable | major | CARD PPM | 12.01
FIRMWARE-UPG-COMPLETE | Firmware Upgrade Completed | warning | warning | CARD PPM | 12.01
FIRMWARE-UPG-FAIL | Firmware Upgrade Failed | not-applicable | major | CARD PPM | 12.01
FLASH0-ERROR | CPU Flash 0 Error | not-applicable | major | CARD | 12.4
FLASH1-ERROR | CPU Flash 1 Error | not-applicable | major | CARD | 12.4
FOIC-GIDM | FOIC Group ID mismatch defect | major | minor | zrPlus | 12.2
FOIC-LDI-LD | FOIC Link Degrade indicator - Local Degrade | minor | minor | zrPlus | 12.2
FOIC-LDI-RD | FOIC Link Degrade indicator- Remote Degrade | minor | minor | zrPlus | 12.2
FOIC-LOF-LOM | FOIC Loss of Frame loss of Multiframe | critical | minor | zrPlus | 12.2
FOIC-LOL | FOIC Loss of Lock Detect | critical | minor | zrPlus | 12.2
FOIC-LOM | FOIC Loss of Multiframe Indication | critical | minor | zrPlus | 12.2
FOIC-PMM | FOIC Phy Map mismatch Alarm | minor | minor | zrPlus | 12.2
FOIC-RPF | FOIC Remote Phy Fault Detect | minor | minor | zrPlus | 12.2
FOIC-TIM | FOIC Trail Trace Identifier Mismatch | critical | not-applicable | zrPlus | 12.2
FORCED-REQ | Forced Switch Request | not-applicable | warning | CARD OPT ODUk | 12.3
FPD-UPG-REQUIRED | Firmware upgrade required | major | warning | PPM CARD SHELF | 12.2
FPGA-ERROR | BP FPGA Error | not-applicable | major | CARD | 12.4
FPGA-SEU-UNCORR | BP FPGA SEU Uncorrected Error | major | not-applicable | CARD | 12.4
FPGA-UPGRADE-FAILED | FPGA Upgrade fail | critical | minor | CARD | 12.01
FRCDSWTOINT | Forced Switch To Internal Clock | not-applicable | warning | NE_SYNCHREF | 12.01
FRCDSWTOPRI | Forced Switch To Primary Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
FRCDSWTOSEC | Forced Switch To Second Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
FRCDSWTOTHIRD | Forced Switch To Third Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
FRNGSYNC | Free Running Synchronization Mode | not-applicable | warning | NE_SYNCHREF | 12.01
FTA-MISMATCH | FanTray Mismatch | not-applicable | warning | CARD | 12.01
GAIN-HDEG | Optical Amplifier Gain Degrade High | not-applicable | minor | OPT | 12.01
GAIN-HFAIL | Optical Amplifier Gain Failure High | critical | minor | OPT OXC | 12.01
GAIN-LDEG | Optical Amplifier Gain Degrade Low | not-applicable | minor | OPT | 12.01
GAIN-LFAIL | Optical Amplifier Gain Failure Low | critical | minor | OPT OXC | 12.01
GAIN-NEAR-LIMIT | Amplifier Gain is near its limit | not-applicable | minor | OPT | 12.01
GCC-EOC | GCC Termination Failure | not-applicable | minor | OTUk | 12.01
GE-OOSYNC | GigaBit Ethernet Out of Sync | critical | minor | ETH | 12.01
GFP-CSF | GFP Client Signal Fail Detected | major | minor | GFP | 12.01
GFP-CSF-SIGLOSS | GFP Client Signal Fail Detected Due To Sigloss | major | minor | GFP | 12.01
GFP-CSF-SYNCLOSS | GFP Client Signal Fail Detected Due To Syncloss | major | minor | GFP | 12.01
GFP-DE-MISMATCH | GFP Fibre Channel Distance Extension Mismatch | major | minor | GFP | 12.01
GFP-EX-MISMATCH | GFP Extension Header Mismatch | major | minor | GFP | 12.01
GFP-LFD | GFP Loss of Frame Delineation | major | minor | GFP | 12.01
GFP-NO-BUFFERS | GFP Fibre Channel Distance Extension Buffer Starvation | major | minor | GFP | 12.01
GFP-UP-MISMATCH | GFP User Payload Mismatch | major | minor | GFP | 12.01
HELLO | OSPF Hello Fail | not-applicable | minor | OPT OTUk OCn STMn ETH | 12.01
HI-BER | High Bit Error Rate | major | minor | ETH | 12.01
HI-CCVOLT | Composite Clock High Line Voltage | not-applicable | warning | BITS | 12.01
HI-LASERBIAS | Equipment High Laser Bias | not-applicable | minor | OCH PORT PPM | 12.01
HI-LASERTEMP | Equipment High Laser Temp | not-applicable | minor | OCH | 12.01
HI-RXPOWER | Facility High Rx power | not-applicable | minor | OCH PORT PPM | 12.01
HI-SER | High Symbol Error Rate | major | minor | ETH | 12.4
HI-TXPOWER | Equipment High Tx power | not-applicable | minor | OCH PORT PPM | 12.01
HIBATVG | High Volt | major | minor | PWR | 12.01
HITEMP | High Temperature | minor | minor | CARD | 12.01
HITEMP | High Temperature | critical | minor | NE | 12.01
HLDOVRSYNC | Holdover Synchronization Mode | not-applicable | warning | NE_SYNCHREF | 12.01
I-HITEMP | Industrial High Temperature | critical | minor | NE | 12.01
IDLE | Idle Signal Condition | not-applicable | warning | ETH | 12.01
IMPROPRMVL | Improper Removal | critical | minor | CARD PPM PORT | 12.01
IMPROPRMVL-FS | Improper removal of Fiber Shuffle | not-applicable | minor | PASSIVE_SHELF | 12.01
INSTALL-IN-PROGRESS | SW Installation In Progress | not-applicable | major | CARD | 12.4
INTRUSION | Security: Invalid Login Username - See Audit Trail | not-applicable | warning | NE SYSTEM | 12.01
INTRUSION-PSWD | Security Intrusion Attempt Detected - See Audit Log | not-applicable | warning | NE SYSTEM | 12.01
INTRUSION-USERID | Security Intrusion Attempt Detected - See Audit Log | not-applicable | warning | NE SYSTEM | 12.01
INVALID-CARD-SLOT | Invalid Card Slot | not-applicable | major | CARD | 12.4
INVALID-SYSDB | Invalid System DB | critical | minor | CARD | 12.01
INVMACADR | Invalid MAC Address | major | minor | BACKPLANE | 12.01
IPC-LASER-FAIL | Ipc Laser failure | not-applicable | minor | CARD | 12.01
IPC-LOOPBACK-MISS | Patchcords Verification Loopback Missing | not-applicable | minor | OPT OXC | 12.01
IPC-VERIFICATION-DEGRADE | Patchcords Verification Degrade | not-applicable | minor | SYSTEM | 12.01
IPC-VERIFICATION-FAIL | Patchcords Verification Failure | not-applicable | major | SYSTEM | 12.01
IPC-VERIFICATION-RUNNING | Patchcords Verification Running | not-applicable | warning | SYSTEM | 12.01
KEY-EX-FAIL | Primary Key Exchange Failed | not-applicable | major | ODUk | 12.01
KEY-WRITE-FAIL | Key Program On FPGA Failed | not-applicable | major | ODUk | 12.01
LAN-POL-REV | Lan Connection Polarity Reversed | not-applicable | warning | NE | 12.01
LASER-APR | Laser Auto Power Reduction | not-applicable | warning | OPT | 12.01
LASERBIAS-DEG | Laser Bias Degrade | not-applicable | minor | OCH | 12.01
LASERBIAS-FAIL | Laser Bias Failure | major | minor | OCH | 12.01
LASEREOL | Laser Approaching End of Life | not-applicable | minor | OCH | 12.01
LASERTEMP-DEG | Laser Temperature Degrade | not-applicable | minor | OCH | 12.01
LC-BOOT-TIMEOUT | LC Boot Timeout | critical | not-applicable | CARD | 12.4
LC-CPU-IMAGE-CORRUPTION | LC CPU Image Corruption | not-applicable | major | CARD | 12.4
LC-DP-IMAGE-CORRUPTION | LC Data Plane Image Corruption | major | not-applicable | CARD | 12.4
LC-OFFLINE-ERROR | LC Offline Error | not-applicable | warning | CARD | 12.4
LCMODE-CONFIG-CHANGED | LC Mode Configuration Changed | not-applicable | warning | CARD | 12.4
LCMODE-CONFIG-INVALID | LC Mode Configuration Invalid | not-applicable | warning | CARD | 12.4
LCMODE-NOT-CONFIG | LC Mode Configuration Not Applied | not-applicable | warning | CARD | 12.4
LIC-EXPIRED | License Expired | critical | minor | CARD | 12.01
LIC-EXPIRING-SHORTLY | License Will Expire Within 24 Hours | major | minor | CARD | 12.01
LIC-EXPIRING-SOON | License Will Expire At Any Time After 1 Day But Before 14 Days | major | minor | CARD | 12.01
LIC-MISSING | License Is Missing | critical | minor | CARD | 12.01
LINK-BROKEN | Ha link Broken | not-applicable | minor | SYSTEM | 12.01
LO-LASERBIAS | Equipment Low Laser Bias | not-applicable | minor | OCH | 12.01
LO-LASERTEMP | Equipment Low Laser Temp | not-applicable | minor | OCH | 12.01
LO-RXPOWER | Facility Low Rx power | not-applicable | minor | OCH PORT PPM | 12.01
LO-TXPOWER | Equipment Low Tx power | not-applicable | minor | OCH PORT PPM | 12.01
LOA | Loss of Alignment | critical | minor | OCH | 12.01
LOCAL-CERT-CHAIN-VERIFICATION-FAILED | Local cert chain verification failed | not-applicable | major | CARD | 12.01
LOCAL-CERT-EXPIRED | Local certificate expired | not-applicable | major | CARD | 12.01
LOCAL-CERT-EXPIRING-WITHIN-30-DAYS | Local cert expiring within 30 days | not-applicable | major | CARD | 12.01
LOCAL-CERT-ISSUED-FOR-FUTURE-DATE | Local cert issued for future date | not-applicable | major | CARD | 12.01
LOCAL-DEG-SER | Local FEC Degraded Symbol Error Rate | major | minor | ETH | 12.4
LOCAL-FAULT | Local Fault | major | minor | ETH | 12.01
LOCAL-SUDI-CERT-VERIFICATION-FAILED | Local sudi cert verification failed | not-applicable | major | CARD | 12.01
LOCKOUT-REQ | Lockout Switch Request | not-applicable | warning | OCn STMn ETH OPT ODUk OTUk zrPlus | 12.01
LOF | Loss Of Frame | critical | minor | OCn | 12.01
LOF | Loss Of Frame | not-applicable | minor | BITS | 12.01
LOGIN-FAIL-LOCKOUT | Security: Invalid Login - Locked Out - See Audit Log | not-applicable | warning | NE SYSTEM | 12.01
LOGIN-FAIL-ONALRDY | Security: Invalid Login - Already Logged On - See Audit Log | not-applicable | warning | NE SYSTEM | 12.01
LOGIN-FAILURE-PSWD | Security: Invalid Login - Password - See Audit Log | not-applicable | warning | NE SYSTEM | 12.01
LOGIN-FAILURE-USER | Security: Invalid Login - Username - See Audit Log | not-applicable | warning | NE SYSTEM | 12.01
LOGOUT-IDLE-USER | Automatic Logout of IdleUser | not-applicable | warning | NE SYSTEM | 12.01
LOM | Loss of Multi-Frame | critical | minor | OCn STMn BITS | 12.01
LOS | Loss Of Signal | critical | minor | OCn STMn OPT | 12.01
LOS | Loss Of Signal | not-applicable | minor | BITS PORT | 12.01
LOS-D | Loss Of DFB Signal | critical | minor | OPT | 12.01
LOS-O | Incoming Overhead Signal Absent | not-applicable | minor | OPT | 12.01
LOS-P | Incoming Payload Signal Absent | critical | minor | OPT OCH OXC | 12.01
LOS-RAMAN | Loss Of Raman Signal | critical | minor | OPT | 12.01
LPBKFACILITY | Facility Loopback | not-applicable | warning | OCn STMn ETH zrPlus OTUk | 12.01
LPBKTERMINAL | Terminal Loopback | not-applicable | warning | OCn STMn ETH zrPlus OTUk | 12.01
LSC-NOT-PRESENT-MIC-IN-USE | LSC not present using MIC | not-applicable | major | CARD | 12.01
LWBATVG | Low Volt | major | minor | PWR | 12.01
MAN-LASER-RESTART | Manual Laser Restart | not-applicable | warning | OPT OCH | 12.01
MAN-REQ | Manual Switch Request | not-applicable | warning | CARD OPT ODUk | 12.01
MANRESET | Manual System Reset | not-applicable | warning | CARD | 12.01
MANSWTOINT | Manual Switch To Internal Clock | not-applicable | warning | NE_SYNCHREF | 12.01
MANSWTOPRI | Manual Switch To Primary Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
MANSWTOSEC | Manual Switch To Second Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
MANSWTOTHIRD | Manual Switch To Third Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
MASTERKEY-SUCCESS | MasterKey Exchange Success | warning | warning | NE | 12.01
MAX-AUTH-LIST | Reached Max Authentication List | not-applicable | major | ODUk | 12.01
MB-SSD-ATA-ERRORS | Motherboard SSD ATA Errors | critical | not-applicable | CARD | 12.4
MEA | Mismatch Of Equipment And Attributes | critical | minor | CARD FAN_TRAY PPM | 12.01
MEA | Mismatch Of Equipment And Attributes | not-applicable | minor | SHELF NE PORT | 12.01
MEM-GONE | Free Memory On Card Near Zero | major | minor | CARD | 12.01
MEM-LOW | Free Memory On Card Very Low | not-applicable | minor | CARD SYSTEM | 12.01
MFGMEM | Manufacturing Data Memory (EEPROM) Failure | critical | minor | FAN_TRAY ECU LCD_FLASH PWR BACKPLANE PPM | 12.01
MS-AIS | AIS - Multiplex Section - Alarm Indication Signal | not-applicable | indeterminate | STMn | 12.01
MS-DEG | Multiplex Section - Signal Degraded | not-applicable | warning | STMn | 12.01
MS-EOC | Multiplex Section DCC Termination Failure | not-applicable | minor | STMn | 12.01
MS-EXC | Multiplex Section - Excessive Errors | not-applicable | warning | STMn | 12.01
MS-RDI | RDI - Multiplex Section - Remote Defect/Alarm Indication | not-applicable | indeterminate | STMn | 12.01
NE-DISCONNECTED | Connection To Managed NE Lost | not-applicable | major | NE | 12.01
NE-NOT-AUTH-ACCESS | Not Authorised Access To Managed NE | not-applicable | major | NE | 12.3
NE-VER-NOT-SUPP | Not Supported Version Of Managed NE | not-applicable | major | NE | 12.31
NO-SHARED-CIPHERS | Different Ciphers Used by Client and Server | not-applicable | major | ODUk | 12.01
NO-VALID-USB-DB | No Valid USB DB exists | not-applicable | minor | USB_FLASH | 12.01
NODE-FACTORY-MODE | Node in Factory Mode | not-applicable | critical | NE | 12.01
NODE-OBFL-ERROR | Node OBFL Error | not-applicable | major | CARD | 12.4
NON-CISCO-PPM | Non Cisco PPM Inserted | not-applicable | indeterminate | PPM PORT | 12.01
NON-TRAF-AFFECT-SEC-UPG-REQUIRED | Non Traffic Affecting Security Upgrade Required | not-applicable | indeterminate | CARD | 12.01
OCHNC-INC | Optical Channel Incomplete | not-applicable | warning | OXC | 12.01
OCHNC-MT | OCHNC Maintenance | not-applicable | warning | OXC | 12.01
OCHTERM-INC | Optical Termination Incomplete | not-applicable | warning | OXC | 12.01
ODUK-1-AIS-PM | ODUk1 Alarm Indication Signal | not-applicable | indeterminate | ODUk | 12.2
ODUK-2-AIS-PM | ODUk2 Alarm Indication Signal | not-applicable | indeterminate | ODUk | 12.2
ODUK-3-AIS-PM | ODUk3 Alarm Indication Signal | not-applicable | indeterminate | ODUk | 12.2
ODUK-4-AIS-PM | ODUk4 Alarm Indication Signal | not-applicable | indeterminate | ODUk | 12.2
ODUK-AIS-PM | ODUk: PM Alarm Indication Signal | not-applicable | indeterminate | ODUk | 12.01
ODUK-AIS-TCM1 | TCM1 Alarm Indication Signal | not-applicable | warning | ODUk | 12.4
ODUK-AIS-TCM2 | TCM2 Alarm Indication Signal | not-applicable | warning | ODUk | 12.4
ODUK-AIS-TCM3 | TCM3 Alarm Indication Signal | not-applicable | warning | ODUk | 12.4
ODUK-AIS-TCM4 | TCM4 Alarm Indication Signal | not-applicable | warning | ODUk | 12.4
ODUK-AIS-TCM5 | TCM5 Alarm Indication Signal | not-applicable | warning | ODUk | 12.4
ODUK-AIS-TCM6 | TCM6 Alarm Indication Signal | not-applicable | warning | ODUk | 12.4
ODUK-BDI-PM | ODUk: PM Backward Defect Indication | not-applicable | indeterminate | ODUk | 12.01
ODUK-BDI-TCM1 | TCM1 Backward Defect Monitoring | not-applicable | warning | ODUk | 12.4
ODUK-BDI-TCM2 | TCM2 Backward Defect Monitoring | not-applicable | warning | ODUk | 12.4
ODUK-BDI-TCM3 | TCM3 Backward Defect Monitoring | not-applicable | warning | ODUk | 12.4
ODUK-BDI-TCM4 | TCM4 Backward Defect Monitoring | not-applicable | warning | ODUk | 12.4
ODUK-BDI-TCM5 | TCM5 Backward Defect Monitoring | not-applicable | warning | ODUk | 12.4
ODUK-BDI-TCM6 | TCM6 Backward Defect Monitoring | not-applicable | warning | ODUk | 12.4
ODUK-BIAE | Path Monitoring Backward Incoming Alignment Error | warning | not-applicable | ODUk | 12.4
ODUK-BIAE-TCM1 | TCM1 Backward Incoming Alignment Error | not-applicable | warning | ODUk | 12.4
ODUK-BIAE-TCM2 | TCM2 Backward Incoming Alignment Error | not-applicable | warning | ODUk | 12.4
ODUK-BIAE-TCM3 | TCM3 Backward Incoming Alignment Error | not-applicable | warning | ODUk | 12.4
ODUK-BIAE-TCM4 | TCM4 Backward Incoming Alignment Error | not-applicable | warning | ODUk | 12.4
ODUK-BIAE-TCM5 | TCM5 Backward Incoming Alignment Error | not-applicable | warning | ODUk | 12.4
ODUK-BIAE-TCM6 | TCM6 Backward Incoming Alignment Error | not-applicable | warning | ODUk | 12.4
ODUK-IAE | Path Monitoring Incoming Alignment Error | warning | minor | ODUk | 12.4
ODUK-IAE-TCM1 | TCM1 Incoming Alignment Error | not-applicable | minor | ODUk | 12.4
ODUK-IAE-TCM2 | TCM2 Incoming Alignment Error | not-applicable | minor | ODUk | 12.4
ODUK-IAE-TCM3 | TCM3 Incoming Alignment Error | not-applicable | minor | ODUk | 12.4
ODUK-IAE-TCM4 | TCM4 Incoming Alignment Error | not-applicable | minor | ODUk | 12.4
ODUK-IAE-TCM5 | TCM5 Incoming Alignment Error | not-applicable | minor | ODUk | 12.4
ODUK-IAE-TCM6 | TCM6 Incoming Alignment Error | not-applicable | minor | ODUk | 12.4
ODUK-LCK-PM | ODUk: Locked Defect - PM | not-applicable | indeterminate | ODUk | 12.01
ODUK-LCK-TCM1 | TCM1 Locked | not-applicable | warning | ODUk | 12.4
ODUK-LCK-TCM2 | TCM2 Locked | not-applicable | warning | ODUk | 12.4
ODUK-LCK-TCM3 | TCM3 Locked | not-applicable | warning | ODUk | 12.4
ODUK-LCK-TCM4 | TCM4 Locked | not-applicable | warning | ODUk | 12.4
ODUK-LCK-TCM5 | TCM5 Locked | not-applicable | warning | ODUk | 12.4
ODUK-LCK-TCM6 | TCM6 Locked | not-applicable | warning | ODUk | 12.4
ODUK-LTC-TCM1 | TCM1 Loss of Tandem Connection | not-applicable | warning | ODUk | 12.4
ODUK-LTC-TCM2 | TCM2 Loss of Tandem Connection | not-applicable | warning | ODUk | 12.4
ODUK-LTC-TCM3 | TCM3 Loss of Tandem Connection | not-applicable | warning | ODUk | 12.4
ODUK-LTC-TCM4 | TCM4 Loss of Tandem Connection | not-applicable | warning | ODUk | 12.4
ODUK-LTC-TCM5 | TCM5 Loss of Tandem Connection | not-applicable | warning | ODUk | 12.4
ODUK-LTC-TCM6 | TCM6 Loss of Tandem Connection | not-applicable | warning | ODUk | 12.4
ODUK-OCI-PM | ODUk: Open Connection Indication | not-applicable | indeterminate | ODUk | 12.01
ODUK-OCI-TCM1 | TCM1 Open Connection Indication | not-applicable | warning | ODUk | 12.4
ODUK-OCI-TCM2 | TCM2 Open Connection Indication | not-applicable | warning | ODUk | 12.4
ODUK-OCI-TCM3 | TCM3 Open Connection Indication | not-applicable | warning | ODUk | 12.4
ODUK-OCI-TCM4 | TCM4 Open Connection Indication | not-applicable | warning | ODUk | 12.4
ODUK-OCI-TCM5 | TCM5 Open Connection Indication | not-applicable | warning | ODUk | 12.4
ODUK-OCI-TCM6 | TCM6 Open Connection Indication | not-applicable | warning | ODUk | 12.4
ODUK-SD-PM | ODUk: Signal Degrade | not-applicable | warning | ODUk | 12.01
ODUK-SD-TCM1 | TCM1 Signal Degrade | not-applicable | warning | ODUk | 12.4
ODUK-SD-TCM2 | TCM2 Signal Degrade | not-applicable | warning | ODUk | 12.4
ODUK-SD-TCM3 | TCM3 Signal Degrade | not-applicable | warning | ODUk | 12.4
ODUK-SD-TCM4 | TCM4 Signal Degrade | not-applicable | warning | ODUk | 12.4
ODUK-SD-TCM5 | TCM5 Signal Degrade | not-applicable | warning | ODUk | 12.4
ODUK-SD-TCM6 | TCM6 Signal Degrade | not-applicable | warning | ODUk | 12.4
ODUK-SF-PM | ODUk: Signal Failure | not-applicable | warning | ODUk | 12.01
ODUK-SF-TCM1 | TCM1 Signal Failure | not-applicable | warning | ODUk | 12.4
ODUK-SF-TCM2 | TCM2 Signal Failure | not-applicable | warning | ODUk | 12.4
ODUK-SF-TCM3 | TCM3 Signal Failure | not-applicable | warning | ODUk | 12.4
ODUK-SF-TCM4 | TCM4 Signal Failure | not-applicable | warning | ODUk | 12.4
ODUK-SF-TCM5 | TCM5 Signal Failure | not-applicable | warning | ODUk | 12.4
ODUK-SF-TCM6 | TCM6 Signal Failure | not-applicable | warning | ODUk | 12.4
ODUK-TIM-PM | ODUk: Trail Trace Identifier Mismatch | major | minor | ODUk | 12.01
ODUK-TIM-TCM1 | TCM1 Trail Trace Identifier Mismatch | major | minor | ODUk | 12.4
ODUK-TIM-TCM2 | TCM2 Trail Trace Identifier Mismatch | major | minor | ODUk | 12.4
ODUK-TIM-TCM3 | TCM3 Trail Trace Identifier Mismatch | major | minor | ODUk | 12.4
ODUK-TIM-TCM4 | TCM4 Trail Trace Identifier Mismatch | major | minor | ODUk | 12.4
ODUK-TIM-TCM5 | TCM5 Trail Trace Identifier Mismatch | major | minor | ODUk | 12.4
ODUK-TIM-TCM6 | TCM6 Trail Trace Identifier Mismatch | major | minor | ODUk | 12.4
OPEN-SLOT | Open Slot(s) | not-applicable | minor | CARD SHELF | 12.01
OPU-CSF | OPU Client Signal Fail | not-applicable | indeterminate | ODUk | 12.01
OPWR-HDEG | Optical Power Degrade High | not-applicable | minor | OPT OXC | 12.01
OPWR-HFAIL | Optical Power Failure High | critical | minor | OPT OXC | 12.01
OPWR-LDEG | Optical Power Degrade Low | not-applicable | minor | OPT OXC | 12.01
OPWR-LFAIL | Optical Power Failure Low | critical | minor | OPT OXC | 12.01
OSNR | Optical Signal-to-Noise Ratio | not-applicable | minor | OCH | 12.4
OSRION | Optical Safety Remote Interlock On | not-applicable | warning | OPT | 12.01
OTDR-ABSOLUTE-A-EXCEEDED-RX | Attenuation Exceeded Absolute Threshold - RX Direction | not-applicable | major | OTDR | 12.01
OTDR-ABSOLUTE-A-EXCEEDED-TX | Attenuation Exceeded Absolute Threshold - TX Direction | not-applicable | major | OTDR | 12.01
OTDR-ABSOLUTE-R-EXCEEDED-RX | Reflectance Exceeded Absolute Threshold - RX Direction | not-applicable | major | OTDR | 12.01
OTDR-ABSOLUTE-R-EXCEEDED-TX | Reflectance Exceeded Absolute Threshold - TX Direction | not-applicable | major | OTDR | 12.01
OTDR-BASELINE-A-EXCEEDED-RX | Attenuation Exceeded Baseline Threshold - RX Direction | not-applicable | major | OTDR | 12.01
OTDR-BASELINE-A-EXCEEDED-TX | Attenuation Exceeded Baseline Threshold - TX Direction | not-applicable | major | OTDR | 12.01
OTDR-BASELINE-R-EXCEEDED-RX | Reflectance Exceeded Baseline Threshold - RX Direction | not-applicable | major | OTDR | 12.01
OTDR-BASELINE-R-EXCEEDED-TX | Reflectance Exceeded Baseline Threshold - TX Direction | not-applicable | major | OTDR | 12.01
OTDR-FAST-FAR-END-IN-PROGRESS | OTDR Fast Scan Is In Progress On Remote Side | not-applicable | minor | OTDR | 12.01
OTDR-FAST-SCAN-IN-PROGRESS-RX | OTDR Fast Scan Is In Progress - RX Direction | not-applicable | minor | OTDR | 12.01
OTDR-FAST-SCAN-IN-PROGRESS-TX | OTDR Fast Scan Is In Progress - TX Direction | not-applicable | minor | OTDR | 12.01
OTDR-FIBER-END-NOT-DETECTED-RX | Fiber End Not Detected - RX Direction | not-applicable | warning | OTDR | 12.01
OTDR-FIBER-END-NOT-DETECTED-TX | Fiber End Not Detected - TX Direction | not-applicable | warning | OTDR | 12.01
OTDR-HYBRID-FAR-END-IN-PROGRESS | OTDR Hybrid Scan Is In Progress On Remote Side | not-applicable | warning | OTDR | 12.01
OTDR-HYBRID-SCAN-IN-PROGRESS-RX | OTDR Hybrid Scan Is In Progress - RX Direction | not-applicable | warning | OTDR | 12.01
OTDR-HYBRID-SCAN-IN-PROGRESS-TX | OTDR Hybrid Scan Is In Progress - TX Direction | not-applicable | warning | OTDR | 12.01
OTDR-LOSS-THR-EXCEEDED | OTDR Loss Threshold Exceeded | not-applicable | major | OTDR | 12.01
OTDR-ORL-THRESHOLD-EXCEEDED-RX | ORL Exceeded Threshold - RX Direction | not-applicable | major | OTDR | 12.01
OTDR-ORL-THRESHOLD-EXCEEDED-TX | ORL Exceeded Threshold - TX Direction | not-applicable | major | OTDR | 12.01
OTDR-ORL-TRAINING-FAILED-RX | ORL Training Failed - RX Direction | not-applicable | warning | OTDR | 12.01
OTDR-ORL-TRAINING-FAILED-TX | ORL Training Failed - TX Direction | not-applicable | warning | OTDR | 12.01
OTDR-ORL-TRAINING-IN-PROGRESS-RX | ORL Training Is In Progress - RX Direction | not-applicable | warning | OTDR | 12.01
OTDR-ORL-TRAINING-IN-PROGRESS-TX | ORL Training Is In Progress - TX Direction | not-applicable | warning | OTDR | 12.01
OTDR-OTDR-TRAINING-FAILED-RX | OTDR Training Failed - RX Direction | not-applicable | warning | OTDR | 12.01
OTDR-OTDR-TRAINING-FAILED-TX | OTDR Training Failed - TX Direction | not-applicable | warning | OTDR | 12.01
OTDR-SCAN-FAILED | OTDR Scan Failed | not-applicable | major | OTDR | 12.01
OTDR-SCAN-IN-PROGRESS | OTDR Scan Is In Progress | not-applicable | minor | OTDR | 12.01
OTDR-SCAN-NOT-COMPLETED | OTDR Scan Not Completed | not-applicable | minor | OTDR | 12.01
OTN-XP-DP-FPD-PKG-MISSING | OTN XP Data Plane FPD Package Missing | not-applicable | warning | CARD | 12.4
OTNSEC-LOCALLY-SECURED | OTNSEC Locally Secured | not-applicable | warning | CARD | 12.4
OTUK-AIS | OTUk: Alarm Indication Signal | not-applicable | indeterminate | OTUk | 12.01
OTUK-BDI | OTUk: SM Backward Defect Indication | not-applicable | indeterminate | OTUk | 12.01
OTUK-BIAE | OTUk: SM Backward Incoming Alignment Error | not-applicable | indeterminate | OTUk | 12.01
OTUK-IAE | OTUk: Incoming Alignment Error | not-applicable | minor | OTUk | 12.01
OTUK-LOF | OTUk: Loss Of Frame | critical | minor | OTUk | 12.01
OTUK-LOM | OTUK Loss Of MultiFrame | critical | minor | OTUk | 12.4
OTUK-SD | OTUk: Signal Degrade | not-applicable | warning | OTUk | 12.01
OTUK-SF | OTUk: Signal Failure | not-applicable | warning | OTUk | 12.01
OTUK-TIM | OTUk: Trail Trace Identifier Mismatch | critical | minor | OTUk | 12.01
OVER-TEMP-UNIT-PROT | Over Temperature Unit Protected | critical | minor | OCH | 12.01
PARAM-MISM | Plug-in Module Range Settings Mismatch | not-applicable | warning | OPT OXC | 12.01
PATCH-ACTIVATION-FAILED | Patch Activation Failed | not-applicable | critical | CARD | 12.01
PATCH-DOWNLOAD-FAILED | Patch Download Failed | not-applicable | critical | NE | 12.01
PEER-CERT-VERIFICATION-FAILED | Peer card certificate verification failed | not-applicable | major | ODUk | 12.01
PEER-CSF | Peer Port Client Signal Fail Detected | major | minor | ODUk | 12.1
PEX-SWITCH-ACCESS-FAILURE | PEX Switch Access Failure | not-applicable | major | CARD | 12.4
PM-TCA | Performance Monitor Threshold Crossing Alert | not-applicable | warning | CARD ETH FC OCH OCn ODUk OPT OTUk OXC PORT PPM STMn | 12.01
PMD-DEG | PMD Degrade | not-applicable | major | OCH | 12.01
PMI | Payload Missing Indication | not-applicable | warning | OPT OXC | 12.01
PORT-COMM-FAIL | Module Communication Failure | critical | minor | PORT | 12.01
POWER-MODULE-OUTPUT-DISABLED | Power Module Output Disable | major | not-applicable | PWR | 12.4
POWER-MODULE-REDUNDANCY-LOST | Power Module Redundancy Lost | major | not-applicable | PWR | 12.4
POWER-OFF | Card In Power Off Status | not-applicable | major | CARD | 12.4
POWER-ON-TIMEOUT | Card In Power On Timeout | not-applicable | major | CARD | 12.4
PRBS-ENABLED | PRBS Generation Enabled | not-applicable | warning | ODUk | 12.01
PROT-CONFIG-MISMATCH | Protection Card Configuration Mismatch | not-applicable | minor | CARD | 12.01
PROT-SOFT-VERIF-FAIL | Protect Volume Software Signature Verification Failed | major | minor | CARD | 12.01
PROTNA | Protection Unit Not Available | not-applicable | minor | CARD SYSTEM | 12.01
PROV-FAILED | Provisioning Failed | major | not-applicable | CARD | 12.4
PROV-IN-PROG | Provisioning In Progress | critical | warning | ODUk | 12.4
PROV-INPROGRESS | Provisioning in progress | not-applicable | minor | CARD | 12.4
PROV-MISMATCH | Provisioning Mismatch | major | minor | PORT | 12.01
PROV-MISMATCH | Provisioning Mismatch | not-applicable | minor | CARD PPM | 12.01
PSWD-CHG-REQUIRED | User Password Change Required | not-applicable | warning | NE SYSTEM | 12.01
PTIM | Payload Type Identifier Mismatch | major | minor | ODUk | 12.01
PWR | Power Failure at Connector | critical | minor | PWR | 12.01
PWR-CON-LMT | Power Consumption Limit Has Crossed | not-applicable | minor | SHELF | 12.01
PWR-FAIL-A | Equipment power failure at connector A | not-applicable | minor | PWR | 12.01
PWR-FAIL-B | Equipment power failure at connector B | not-applicable | minor | PWR | 12.01
PWR-FAIL-RET-A | Equipment power failure at return connector A | not-applicable | minor | PWR | 12.01
PWR-FAIL-RET-B | Equipment power failure at return connector B | not-applicable | minor | PWR | 12.01
PWR-PROT-ON | Raman Power Protection On | major | minor | OPT | 12.01
PWRRESTART | Powerfail Restart | not-applicable | warning | NE | 12.01
RACK-OBFL-ERROR | Obfl error | not-applicable | major | SHELF | 12.4
RAMAN-CALIBRATION-FAILED | Raman Calibration Failed | not-applicable | minor | RAMAN_AMPLIFIER | 12.01
RAMAN-CALIBRATION-PENDING | Raman Calibration Pending | not-applicable | warning | RAMAN_AMPLIFIER | 12.01
RAMAN-CALIBRATION-RUNNING | Raman Calibration Running | critical | minor | RAMAN_AMPLIFIER | 12.01
RAMAN-GAIN-NOT-REACHED | Raman Gain Not Reached | not-applicable | minor | RAMAN_AMPLIFIER | 12.01
RDI-L | Remote Defect Indication Line | not-applicable | indeterminate | OCn | 12.2
REMOTE-CERT-FAIL | RemoteCard Certificate Validation Failed | not-applicable | major | ODUk | 12.01
REMOTE-DEG-SER | Remote FEC Degraded Symbol Error Rate | major | minor | ETH | 12.4
REMOTE-FAULT | Remote Fault | major | minor | ETH | 12.01
REROUTE-IN-PROG | Reroute In Progress | not-applicable | warning | OXC | 12.01
RESOURCE-ALLOC-FAIL | Resource Allocation Failed | not-applicable | major | CARD | 12.01
RESOURCES-GONE | No More Resources Available | not-applicable | minor | CARD | 12.01
RESOURCES-LOW | Running Low On Resources | not-applicable | minor | CARD | 12.01
RESTORE-IN-PROG | Restoration in Progress | not-applicable | warning | OXC | 12.01
REVERT-IN-PROG | Revert In Progress | not-applicable | warning | OXC | 12.01
RFI | Remote Failure Indication | not-applicable | indeterminate | OPT | 12.01
RLS | Raman Laser Shutdown | critical | minor | RAMAN_AMPLIFIER | 12.01
RMON-ALARM | RMON Threshold Crossing Alarm | not-applicable | warning | ETH FC ODUk | 12.01
RMON-RESET | RMON Histories And Alarms Reset Reboot | not-applicable | warning | ETH FC ODUk | 12.01
ROLE-SWITCH-ACTIVE | Role is Switched to active | not-applicable | warning | SYSTEM | 12.01
ROUTE-OVERFLOW | OSPF Routing Table Overflow | not-applicable | minor | NE | 12.01
RS-EOC | Regenerator Section - DCC Termination Failure | not-applicable | minor | STMn | 12.01
RS-TIM | Regenerator Section Trace Identifier Mismatch | critical | minor | STMn | 12.01
RUNNING-FANS-AT-MAX-SPEED | FANs Running At Maximum Speed | critical | not-applicable | FAN_TRAY | 12.4
SD | Signal Degrade | not-applicable | warning | OCn | 12.01
SD-L | BER Threshold Exceeded For Signal Degrade Line | not-applicable | warning | OCn | 12.01
SENSOR-HIGH-0-6V-CPU-A | 0.6V-CPU-A sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-0-6V-CPU-B | 0.6V-CPU-B sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-05V-CPU | 1.05V-CPU sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-0V | 1.0V sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-0V-PHY | 1.0V-PHY sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-2V | 1.2V sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-2V-CPU | 1.2V-CPU sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-3V-CPU | 1.3V-CPU sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-5V-CPU | 1.5V-CPU sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-7V-CPU | 1.7V-CPU sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-82V-CPU | 1.82V-CPU sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-1-8V | 1.8V sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-2-5V | 2.5V sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-3-3V | 3.3V sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-3-3V-CPU | 3.3V-CPU sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-3-3V-STBY | 3.3V-STBY sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-5-0V-STBY | 5.0V-STBY sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-BP-48V | BP-48V sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-CPU-TEMP | CPU-TEMP sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-DDR-CH0-TEMP | DDR-CH0-TEMP sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-DDR-CH1-TEMP | DDR-CH1-TEMP sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-ETHERNET-SWITCH-TEMP | ETHERNET-SWITCH-TEMP sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-HOTSPOT1 | HOTSPOT1 sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-HOTSPOT2 | HOTSPOT2 sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-INLET-AIR | INLET-AIR sensor high | minor | not-applicable | CARD | 12.01
SENSOR-HIGH-OUTLET-AIR | OUTLET-AIR sensor high | minor | not-applicable | CARD | 12.01
SENSOR-LOW-0-6V-CPU-A | 0.6V-CPU-A sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-0-6V-CPU-B | 0.6V-CPU-B sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-05V-CPU | 1.05V-CPU sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-0V | 1.0V sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-0V-PHY | 1.0V-PHY sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-2V | 1.2V sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-2V-CPU | 1.2V-CPU sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-3V-CPU | 1.3V-CPU sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-5V-CPU | 1.5V-CPU sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-7V-CPU | 1.7V-CPU sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-82V-CPU | 1.82V-CPU sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-1-8V | 1.8V sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-2-5V | 2.5V sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-3-3V | 3.3V sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-3-3V-CPU | 3.3V-CPU sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-3-3V-STBY | 3.3V-STBY sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-5-0V-STBY | 5.0V-STBY sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-BP-48V | BP-48V sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-CPU-TEMP | CPU-TEMP sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-DDR-CH0-TEMP | DDR-CH0-TEMP sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-DDR-CH1-TEMP | DDR-CH1-TEMP sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-ETHERNET-SWITCH-TEMP | ETHERNET-SWITCH-TEMP sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-HOTSPOT1 | HOTSPOT1 sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-HOTSPOT2 | HOTSPOT2 sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-INLET-AIR | INLET-AIR sensor low | minor | not-applicable | CARD | 12.01
SENSOR-LOW-OUTLET-AIR | OUTLET-AIR sensor low | minor | not-applicable | CARD | 12.01
SESSION-TIME-LIMIT | Session Time Limit Expired | not-applicable | warning | NE | 12.01
SF | Signal Failure | not-applicable | warning | OCn | 12.01
SF-L | BER Threshold Exceeded For Signal Failure Line | not-applicable | warning | OCn | 12.01
SFTWDOWN | Software Download In Progress | not-applicable | minor | NE | 12.01
SFTWDOWN-FAIL | Software Download Failed | not-applicable | minor | NE | 12.01
SHELF-COMM-FAIL | Shelf Communication Failure | not-applicable | major | SHELF | 12.01
SIGLOSS | Signal Loss on Data Interface | major | minor | ETH | 12.01
SIP | Startup In Progress | not-applicable | warning | OXC | 12.01
SNTP-HOST | NTP/SNTP Host Failure | not-applicable | minor | NE CARD SYSTEM | 12.01
SOFT-VERIF-FAIL | Software Signature Verification Failed | critical | minor | NE | 12.01
SPAN-NOT-MEASURED | Span Measurement Cannot Be Performed | not-applicable | warning | OPT | 12.01
SPANLEN-OUT-OF-RANGE | Span Length Out of Range | not-applicable | minor | OPT | 12.01
SQUELCHED | Equipment Squelched | not-applicable | warning | OCH ODUk | 12.01
SSD-ATA-ERRORS | CPU SSD ATA Error | critical | not-applicable | CARD | 12.4
SSD-HI-TEMP | CPU SSD High Temperature | not-applicable | major | CARD | 12.4
SSM-DUS | Do Not Use For Synchronization | not-applicable | warning | OCn STMn OTUk BITS | 12.01
SSM-FAIL | Failed To Receive Synchronization Status Message | not-applicable | minor | OCn STMn OTUk BITS | 12.01
SSM-LNC | G812L - Local Node Clock traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-OFF | Synchronization Status Messages Are Disabled On This Interface | not-applicable | warning | OCn STMn OTUk BITS | 12.01
SSM-PRC | G811 - Primary Reference Clock traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-PRS | Stratum 1 Primary Reference Source Traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-RES | Reserved For Network Synchronization Use | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-SDH-TN | G812T - Transit Node Clock traceable | not-applicable | warning | STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-SETS | G813 - Synchronous Equipment Timing Source traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-SMC | SONET Minimum Clock Traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-ST2 | Stratum 2 Traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-ST3 | Stratum 3 Traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-ST3E | Stratum 3E Traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-ST4 | Stratum 4 Traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-STU | Synchronized - Traceability Unknown | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SSM-TNC | Transit Node Clock Traceable | not-applicable | warning | OCn STMn OTUk BITS NE_SYNCHREF | 12.01
SW-MISMATCH | Software Mismatch | not-applicable | warning | CARD | 12.01
SWTOPRI | Switch To Primary Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
SWTOSEC | Switch To Second Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
SWTOTHIRD | Switch To Third Reference | not-applicable | warning | EXT_SYNCHREF NE_SYNCHREF | 12.01
SYNC-FREQ | Synchronization Reference Frequency Out Of Bounds | not-applicable | warning | OTUk BITS OCn STMn | 12.01
SYNCCLK | Synchronization Unit Failure | critical | not-applicable | NE_SYNCHREF | 12.01
SYNCLOSS | Synchronization Loss on Data Interface | major | minor | ETH | 12.01
SYNCPRI | Primary Synchronization Reference Failure | major | minor | NE_SYNCHREF | 12.01
SYNCPRI | Primary Synchronization Reference Failure | not-applicable | minor | EXT_SYNCHREF | 12.01
SYNCSEC | Secondary Synchronization Reference Failure | not-applicable | minor | EXT_SYNCHREF NE_SYNCHREF | 12.01
SYNCTHIRD | Third Synchronization Reference Failure | not-applicable | minor | EXT_SYNCHREF NE_SYNCHREF | 12.01
SYSBOOT | System Reboot | major | minor | NE | 12.01
TD-FAILED | Tone Detection Failed | not-applicable | warning | OPT | 12.4
TD-INPROGRESS | Tone Detection In Progress | not-applicable | warning | OPT | 12.4
TD-SUCCESS | Tone Detection Success | not-applicable | warning | OPT | 12.4
TEMP-LIC | Temporary License Is In Use | not-applicable | minor | CARD | 12.01
TEMP-MISM | Temperature Reading Mismatch Between SC Cards | not-applicable | warning | NE | 12.01
TG-INPROGRESS | Tone Generation In Progress | not-applicable | warning | OPT | 12.4
TIM-S | Section Trace Identifier Mismatch | critical | minor | OCn | 12.01
TRAF-AFFECT-RESET-REQUIRED | Traffic Affecting Reset Required | not-applicable | minor | CARD | 12.01
TRAF-AFFECT-SEC-UPG-REQUIRED | Traffic Affecting Security Upgrade Required | not-applicable | indeterminate | CARD | 12.01
TRAIL-SIGNAL-FAIL | Trail Signal Fail | not-applicable | warning | OPT OXC | 12.01
TRUNK-ODU-AIS | Trunk ODU Alarm Indication Signal | not-applicable | indeterminate | ODUk | 12.01
TRUNK-OPU-CSF | Trunk OPU Client Signal Fail | not-applicable | indeterminate | ODUk | 12.01
TRUNK-PAYLOAD-MISM | Trunk Payload Type Mismatch | major | minor | ODUk | 12.1
TX-POWER-PROV-MISMATCH | Provisioned Optics Transmit Power Not Supported | warning | minor | ODUk | 12.4
UNC-WORD | FEC Uncorrected Word | not-applicable | warning | OCH OTUk | 12.01
UNIT-HIGH-TEMP | Unit High Temperature | not-applicable | minor | CARD | 12.01
UNQUAL-PPM | Unqualified PPM Inserted | not-applicable | indeterminate | PPM PORT | 12.01
USB-MOUNT-FAIL | USB Mount Failure | critical | minor | USB_FLASH | 12.01
USB-OC-1 | USB 1 Over Current | not-applicable | major | USB_FLASH | 12.4
USB-OC-2 | USB 2 Over Current | not-applicable | major | USB_FLASH | 12.4
USB-PORTS-DOWN | USB Ports in ECU are not functional | major | minor | ECU | 12.01
USB-WRITE-FAIL | USB Write Failure | critical | minor | USB_FLASH | 12.01
USBSYNC | USB Sync in Progress | not-applicable | minor | USB_FLASH | 12.01
USER-LOCKOUT | User Locked Out | not-applicable | warning | NE SYSTEM | 12.01
USER-LOGIN | Login of User | not-applicable | warning | NE SYSTEM | 12.01
USER-LOGOUT | Logout of User | not-applicable | warning | NE SYSTEM | 12.01
VOA-DISABLED | VOA Control Loop Disable Due To Excessive Counter-Propagation Light | critical | minor | CARD | 12.01
VOA-HDEG | Variable Optical Attenuator Degrade High | not-applicable | minor | OPT OXC | 12.01
VOA-HFAIL | Variable Optical Attenuator Failure High | critical | minor | OPT OXC | 12.01
VOA-LDEG | Variable Optical Attenuator Degrade Low | not-applicable | minor | OPT OXC | 12.01
VOA-LFAIL | Variable Optical Attenuator Failure Low | critical | minor | OPT OXC | 12.01
VOLT-MISM | Voltage Reading Mismatch Between SC Cards | not-applicable | warning | PWR | 12.01
WKSWBK | Switched Back To Working | not-applicable | warning | OPT ODUk | 12.3
WKSWPR | Switched To Protection | not-applicable | warning | OPT OCn STMn ODUk OTUk ETH | 12.01
WRK-PATH-RECOVERY-CHECK | Checking For Work Path Recovery | not-applicable | warning | OPT | 12.01
WRMRESTART | Warm Restart | not-applicable | warning | NE | 12.01
WTR | Wait To Restore | not-applicable | warning | OPT OCn STMn ODUk OTUk ETH | 12.01
WVL-MISMATCH | Equipment Wavelength Mismatch | major | minor | OCH | 12.01
WVL-UNLOCKED | Wavelength Unlocked | major | minor | OCH | 12.01
XGE-EEPROM-ERROR | XGE EEPROM Error | major | not-applicable | CARD | 12.4
XGE-FLASH-ERROR | XGE Flash Error | not-applicable | major | CARD | 12.4